Unit 2 – Chapter 14 – Electrical Hazards Summary

Electricity = the flow of negatively charged particles called electrons through an electrically conductive		     material

Electrical Hazard Recognition

Sights=Obvious equipment damage, smoke, flames, sparks, alternating power dips/surges, water

Sounds=Crackling, sizzling, drastic change in transformer hum,

Smells=Smoke, burnt insulation or rubber (acrid)

Flexible Cords = Don’t tie knots in cords… Unroll cords completely…Don’t crush cord in door jams, under			 vehicle traffic, or under equipment

Sources of Electrical Hazards

-short circuits are one source, another being water, which decreases the resistance of materials, including humans…resistance of wet skin is lower than dry skin and the lower the resistance the higher the current flow=electrical shock!....main sources of shock include:

-bare wire carrying current

-electrical equipment w/o UL label for safety inspection or equipment that hasn’t been grounded….also working with equipment on damp floors

-static electricity charge

-using metal ladders to work on electrical equipment (provide direct line) or w/o power shut off

-lighting strikes

Combustible and Explosive Materials

-if a conductor is not capable of carrying a current of such high magnitude, overheating is possible …overheating can also lead to short circuits which in turn generate fire explosions

Lightning Hazards

-static charges from clouds following the path of least resistance to the earth involving high V and current…if path contains human=serious damage

-electrical equipment and building structures are commonly subject to lightning hazards

Improper Wiring

-allows equipment to work normally but can result in hazardous conditions

Jumping=wen ground wire is connected to the neutral wire

-this can cause low voltage to be generated on exposed parts of the equipment like housing

-if neutral circuit becomes loose, the higher the V on the ground wire the higher the danger level

Insulation Failure

-degradation of insulation causes bare wire, which results in shock when touched …most are caused by environments toxic to insulation , environments include the following:

-direct sunlight/UV light

-sparks which can burn through insulation

-repeated exposure to elevated temp. and also moisture and humidity

-contact with rough surfaces

-substance incompatibility with atm around insulation=chem rxn

-animals chewing away at the inslulation …or bugs can cause short circuits to occur wen they pack together

ELECTRICAL HAZARDS TO HUMANS

-some levels of current freeze a person to the conductor(they cant let go)

-let go current = highest current level at which person in contact with current can voluntarily let go

-severity of injury depends on dosage of electricity as well as the path taken in the body …which depends, resistance by diff body parts

-least resistant areas are heart brain and trunk while most resistant is skin

Consequence of Electrical Shock & Contact

Thermal burns -electric arc can reach  35,000 0F

Electrical burns -dry skin resistance ~ 5 Kohms

Muscle damage & Severe Internal organ damage - Brain damage

            - destruction of brain cells can cause seizures

            - damage to nerves and nerve ends

Respiratory difficulties or difficulties

  - 20mA can cause breathing difficulty

  - 300mA can  cause complete muscle contraction

Cardiac fibrillation or arrest

Ventricular (pump blood through heart) Fibrillation(uncoordinated, fluttering heart muscle)

  - Uncoordinated contraction of heart

  - Once started, rarely stops spontaneously

  - Death certain within minutes

  - Can start with contact of 50mA for one second

Heart damage

  - immediate heart beat problems, or

  - delayed heart attack

    - Due to bruising or damage to critical areas

  - other damage to blood vessels

Secondary Consequences

Eye Damage – from flash or arc

Falls – from ladders or roof

Into or onto  - operating equipment, electrical panels, water, hazardous substances

Step and Touch Potential

Touch potential =wen u literally get contacted with volts traveling from the ladder ur on, all the way to			  the ground  (if u had a metal ladder ontop of  an electric wire and contacted it ud get   electrocuted)

Step potentials =occurs when someone steps in the vicinity of the fault, w/o contacting the worker that 			  was struck, or ne energized equipment becuz all the volts from the ladder have 			travelled to the ground . They are in the area of where the electricity has travelled to and face being shocked.

REDUCING ELECTRICAL HAZARDS

Main way is grounding electrical equipment, its purpose being to safeguard ppl from shock, reduce fire likelihood, it ensures path to the earth for the flow of excess current

Electrical System Grounding = achieved wen one conductor of the circuit is connected to the earth

=causes power surges and voltage changes to be eliminated

Bonding = used to connect two pieces of equipment by a conductor…also involves eliminating the dif in 		     static charge potential between materials which reduces possibility of sparking

-both of them increase the safety for entire electrical circuits

Ground Fault Circuit Interrupter= can detect the flow of current to the ground and open circuit therefore interrupting the flow of the current

-another means of protecting workers is isolating the hazard from the workers or vice versa

Interlocks = automatically break/open the circuit when an unsafe situation is detected

Ie elevator doesn’t move until the doors r closed

-they r used around high V areas so ppl don’t enter area ….usually detected by lights and sounds or labels

-its better to design safety into the equipment and system than to rely on human behavior such as reading the labels and then acting

CANADIAN ELECTRICAL STANDARDS

Rules are governed by the Canadian Electrical Code  on the federal level

-since theres dif in climate geography and industry, the provinces and territories make specific regulation amendments under their own jurisdictions

-ie Atlantic Canada provinces have regulations that deal with salt water and insulation corrosion

-on municipal level, electrical standards are incorporated into the city

-regulations are governed and enforced by inspectors, where approval is required at various stages of the construction

-competent electrician will know under which jurisdiction each project falls and will comply with standards of that area

Legislation

- Canadian Electrical Code

- Ontario Electrical Safety Code

    - Rule 2-304, 28-602

    - Provincial Regulations

  - Industrial Establishments (40 -44 and 75-76)

  - Health Care & Residential Facilities (62 – 72)

  - Construction Projects (181-195)

- Municipal & Regional Codes

  - Building Codes

  - Permits