Transformers

- Used to increase or decrease Voltage or Current

- Isolate circuits

- Increase or decrease apparent values of capacitor and resistor inductor

- Transmission

- Distribution