Lab2_discussion

There are seven samples in total that were detected in this lab: samples A to F and tap water. Also, as the lab manual (P19 – P20) has shown, the pH of each sample should be recorded for later on use. Then, as to the different pH values, we applied the relevant alkalinity and acidity tests. For example, after we determining the PH value of sample F, which was 2.51, by referring to the lab manual so that we knew this sample is acidic, and we should therefore apply the acid test on the sample F.

Table 1. Type of Alkalinity by Titration Results

(Cited Source: University of Ottawa – P20 of the CVG 2132 LAB MANUAL, 2015)

Table 2. Experiment Date of Group 2

| Sample | pH | Alk./Acid | Volume #1 | Volume #2 |
| --- | --- | --- | --- | --- |
| A | 10.75 | Alk. | 3.1 | 1 |
| B | 10.16 | Alk. | 3.5 | 4.8 |
| C | 8.35 | Alk. | 0.3 | 4.6 |
| D | 10.7 | Alk. | 5.85 | 5.15 |
| E | 9.95 | Alk. | 7.35 | 12.75 |
| F | 2.42 | acid | 8 | 0.4 |
| TAP WATER | 7.53 | Alk. | 0 | 1 |

Table. 3 Average Experiment Data of All the Groups

| Sample | Ave.ph | alk/acid | Ave. Volume#1 | Ave. Volume#2 |
| --- | --- | --- | --- | --- |
| A | 10.85429 |  | 2.871428571 | 0.985714286 |
| B | 10.12429 |  | 3.385714286 | 4.957142857 |
| C | 8.287143 |  | 0.264285714 | 4.578571429 |
| D | 10.67286 |  | 5.778571429 | 5.335714286 |
| E | 10.11429 |  | 7.5 | 12.08571429 |
| F | 2.401429 |  | 7.985714286 | 0.692857143 |
| TAP WATER | 7.491429 |  | 0 | 0.864285714 |

(Data Source: the Excel document assigned by the Teaching Assistance.)

| Sample |  | pH | Volume #1 (mL) |  | PA (mg/L as CaCO3) |  | Volume #2 (mL) |  |  | TA (mg/L as CaCO3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A |  | 10.75 | 3.1 |  | 114.8 |  | 1 |  |  | 154.4 |
| B |  | 10.16 | 3.5 |  | 135.6 |  | 4.8 |  |  | 334.0 |
| C |  | 8.35 | 0.3 |  | 10.4 |  | 4.6 |  |  | 195.2 |
| D |  | 10.7 | 5.85 |  | 231.2 |  | 5.15 |  |  | 448.8 |
| E |  | 9.95 | 7.35 |  | 300.0 |  | 12.75 |  |  | 783.2 |
| TAP WATER |  | 7.53 | 0 |  | 0 |  | 0 |  |  | 34.4 |
| Sample | PA (mg/L as CaCO3) |  | TA (mg/L as CaCO3) | OH- |  |  | HCO3- | CO32- |  |  |
| A | 146 |  | 156 | 136 |  |  | 0 | 20 |  |  |
| B | 176 |  | 340 | 12 |  |  | 0 | 328 |  |  |
| C | 20 |  | 200 | 0 |  |  | 160 | 40 |  |  |
| D | 246 |  | 426 | 66 |  |  | 0 | 360 |  |  |
| E | 318 |  | 786 | 0 |  |  | 150 | 636 |  |  |
| TAP WATER | 0 |  | 20 | 0 |  |  | 20 | 0 |  |  |
| Sample |  | pH | Volume #1 (mL) |  | MA (mg/L as CaCO3) | Volume #2 (mL) |  |  | CDA (mg/L as CaCO3) |  |
| F |  | 2.42 | 8 |  | 274 | 1 |  |  | 44 |  |

Table 3. Types and Amounts of Alkalinity, Acidity, and Ions.

The Table 2 was taken simultaneously as the experiment was being processed, it records the alkalinity or acidity of the samples A, B, C, D, E, F, and Tap water. Since that all of those samples solutions have low concentrations, they therefore do not damage too badly to human body once being physically engaged (said by TA during the laboratory). In the other words, all the samples in used in this lab are dilute. Moreover, according to the Table 1, we found that all the samples were basic except the sample F, even the tap water we obtained in the lab was also slightly basic. However, although several solutions are all basic and their PH values are also similar, they do not all contain the same ions, they have OH-, CO32-, and HCO3-, etc.

After that, when we were performing the titration for each sample, we confirmed our assumption that solutions with different PH value, also known as containing different concentrations of H+, will require different amount of H2SO4 to become fully titrated. This is because that solutions with a larger amount of OH- require a higher larger amount of H+ to neutralize. Isochorically, we needed to provide larger amount of H2SO4 in order to neutralize the bases. However, besides this lab, the same result can be obtained by providing a smaller amount of concentrated H2SO4. As to the concentration in CaCO3, it was obtained similarly referring to the calculation for the phenolphthalein alkalinity and total alkalinity of each sample in the calculation part.

Sample F was the only sample that has a PH value lower than 7, which was an acidic solution. In this solution, the amount of H+ is more than the amount of OH-. Based on those information, we decided to apply the acid test to this sample. Afterwards, by determine the ions of each sample, we found that the ions in this acidity is very different to other alkalinities.

Referring to the lab manual, the acidic solution is consisted of mineral acids, which contain both hydrochloric acid (HCL) and sulfuric acid (H2SO4). In order to find a way that can perform both acids in one unit measurement, we calculated the values of mineral acidity and carbonate acidity in term of CaCO3.

According to the Table 3, only tap water is a good idea for humans to drink, since others samples are either too acidic or too basic as their PH values have shown. For example, sample F, which has a PH of 2.42, it is very acidic to humans and it may corrode human organs if people drink it. For those samples which have higher PH values than 7 but “look” close to 7, they are not good choices to be as drinking water as well. Although those samples may not damage human organs as badly as the sample F, but they do contain high levels of concentration of CaCO3, which will lead to high degrees of hardness of the liquids. Drinking excessive amount of hard water will lead to an overwhelming level of Calcium Carbonate (CaCO3) being left inside human’s body. Therefore, a series of health issues might be caused afterwards, such as vertigo, emesis, joint pain, and disorientation, etc.

Reference:

"Hypercalcemia." Cancer.Net. 29 Mar. 2012. Fri. 27 Oct. 2015. <http://www.cancer.net/navigating-cancer-care/side-effects/hypercalcemia>.

"The PH Scale? Acidity, Alkalinity, and Buffers." The Effective Range of the pH Scale; Proper Definition of pH.  Fri. 27 Oct. 2015. <http://chemwiki.ucdavis.edu/Physical_Chemistry/Acids_and_Bases/Aqueous_Solutions/The_pH_Scale >.