Spectroscopy: A=Єbc , A=-log T , T=P/Po = Psample/Psolvent. Absorption: detects unabsorbed [] ^, I↓ Emission: detects from relaxation event []^, I^ <Flourescence: detects radiative loss of proton [] ^, I ^.  <Phosphorescence. Spectrometer: Sources: Tungston for IR, deuterium for UV. Line sources for specific wavelengths, ie Fe lamp to see Fe. Monocrometer uses prism to aim specific wavelength. Sample holder: quartz for UV and IR(or crystallized salt), glass is opaque.  Detectors: use fourier transform to add multiple spectra together, to double signal:noise need 4x scans. Area detector detects entire spectrum equally. General measures all radiation (need monocrometer) Single beam zero’d on blank  and then measure sample. Double beam measures both simultaneously requiring more moving parts, matched cuvettes. Limitations to Beer’s law: conc effects, saturation of signal, interacting molecules, change in absorbance. Equil shifts, graph calibration line to ensure linear region. Standard additions. Cu=bCS/mVU , b=yavg-mxavg Fluorescence: molecules fluoresce lower E due to vibration. Not all molecules fluoresce due to: vibration envelope overlap, collision(external conversion) bond break/ chem. rxn(photochem), internal conversion (phosphoresce). F= K’PO( 1- 10-Єbc), low conc it =2.3K’ЄbcPO, F=kc IR: measures vibrational E levels, depends on strength of bond, mass of elements( higher E for lower mass) hv=ΔE=h/2π *(k/μ)1/2. Source: blackbody, detector: thermal, pyroelectric, photoconductor. Sample prep: gasses: flow cells, quantitative with standards. Liquids: run pure, thin film. Solids: dissolve, run IR. Or reevapourate solvent to get thin solid film. But may hide peaks due to orientations due to crystallinity; quantitative.. KBR pellet: grind up  in KBR and press into pellet, hard to reproduce. Nujoll mull: suspension of sample in ground up mineral oil, has interfering peaks, not quantitative. Separation methods: Physical/chemical methods: many of these methods are non selective Precipitation: Ksp tables. Find a counter ion that selectively precipitates with an ion of interest, but this is hard to find. Masking: add something that precipitates everything except analyte, finding a unique masking agent is difficult. Distillation: remove volatiles from analyte, problems: azeotropes (mixtures that can’t be boiled off to purify); another method is to perform a reaction that is unique Extractions: 2 liquid (solvent phases) usually water and organic solvent (not soluble in water, such as hydrocarbon chains, ethers, long chain alcohols, chlorohydrocarbons like chloroform) Most substances will be a) more soluble in water than the non-polar solvent or b) more soluble in non-polar solvent that water.. “like dissolves like.” Therefore in the presence of both solvents, an analyte A will be in equilibrium between the solvents. (usually organic phase is on top, unless halogenated) Partition coefficient: k = [A]org/[A]aq , [A]in h20= Vaq/VorgK+Vaq *[A]o  2 extractions at half volume are better than one extraction Sample prep: organic species is easy to extract “as is” Metal species are often converted to a complex that is organic-soluble Chromatography Normal phase: stationary phase is polar, polar analytes are slowed by attraction to stationary phase. Therefore nonpolar come off first. Reverse phase(most common) :stationary phase is nonpolar and polar comes off first. Ion-exchange chromatography: usually for separating metal cations; stationary phase is a resin and is an ionic compound; cations of resin exchange with cations of the analyte. usually need acidic mobile phase.regenerate resin by running sulfuric acid through. Size exclusion:generally separate by size(volume) of molecule, stationary phase is a gel Pores: large molecules come off first, they go straight through, small molecules can divert into nooks. Seive type: large molecules need to find holes big enough to slip through, they come off last. Used for: biomolecules: often add a polar stationary phase for proteins/nucleic acids  Polymers: usually called GPC gel permeation chromatography: hydrophobic (nonpolar/reverse phase) Size exclusion chromatography; these all have max-min ranges, anything outside this range in undifferentiable, ex all molecules are too small so they come off around the same time. General Features: thin layer chromatography has a planar stationary phase with mobile phase moving over it by capillary action. hard to quantify, not very reproduceable. Column chromatography is better for quantitative. Column: tube packed with stationary phase on small capillary with stationary phase on the walls of the tube. Elution: process of separating by chromatography. Chromatogram: plot of output, usually detector(y) vs response time(x). Migration rate: each analyte species has a partition coefficient, K, species with different K’s migrate at different rates. Retention time: how long the species takes to elute(tR) (null time = time for solvent to come through(tM)). Velocity of mobile phase u=L/tm , V= L/tR    Retention factor, k=Kvs/vm , kA= tR(A)-tm / tm , V= u/1+KA.  Selectivity factor. α=KB/KA=kB/kA   (assuming line peaks. Not Gaussian, but line broadening: Caused by Boltzmann distribution, multipath broadening, And TR differences due to random equilibrium events.)  Ideally these create a Gaussian distribution. N of theoretical plates (larger N = better separation, less line broadening), H= σ2/L, σ=tR/root N, N= L/H =16(tR/w)2 = 5.54(tR/w1/2) Resolution (Rs)>/ 1.5 peaks are fully resolved. RS= root N/4(α-1/ α)(kB/1+kB)2, RS= 2(tR(B)-tR(A))/ WA+WB, RS1/rootN1= RS2/rootN2. Slow flow rate to improve resolution. Gas-Liquid Chromatography : mobile phase is gas, will flow through column and carry any gas-phase analyte molecules with it. sample is volatilized, GC @elevated temperatures. Injector: key point is to get sample into gas phase instantaneously, small sample volumes (uL), high temperatures. Column: where separation takes place. elevated temps to keep analyte in gas phase, programmable to speed elution of heavy species. High T = fast, Low T = higher resolution. Mobile phases: can differ depending on sample, detector etc. usually inert (He, Ar, sometimes N2) add H2 @ some point for certain detectors. Column Types:  Open Capillary(most common): stationary phase coated on walls of capillary, several meters long Disadvantage: easy to kink, break, plug Advantage: better selectivity, lower sample volume. Packed: thicker tube packed with silica particles, stationary phase coated on silica Advantage: durable Disadvantage: lower resolution (dis)advantage: high sample volume. Stationary Phase: a “liquid” attached to a column, must be non-volatile @operating temp, nonreactive, most are silicones/ siloxanes (R2)Si-O—(R2)Si-O-  etc where R =CN, OH, etc = polar, R= benzene, etc =nonpolar. Column Materials: Ar, steel, Cu, polymer, glass, diatomaceous earth. Detectors: wide variety Absorption detector: UV-vis, IR, works like their spectrometers Mass Spec see later Flame ionization detector(FID): send eluent though flame, analyte ionized, ionic conductivity measured. I^ as [ ] ^. good general detector, high sensitivity, larger linear range(than UV-vis) not good for identifying unknowns good for quantifying amounts. Electron Capture(ECD):63Ni, radioactive, decays by B-emission(e- decay), high E e- hits carrier gas, creates cascade of e- in chamber. organic molecules with electronegative groups will attract e-‘s and give and ionized material (peroxide, nitro, halogen etc): I^ and [ ]^. Qualitative(Identification) analysis is best with Absorption or MS. Quantitatively: use calibration line (separate line for each class of molecule) High Performance Liquid Chromatography (HPLC): pressures up to 400atm.Injecting system: Load samples into instrument: glass syringe cannot hold pressure, use sample loop: Is a reservoir that the sample is loaded into, then acts like an air lock. Close door to syringe and open door to instrument. Solvent reservoirs: multiple pumps, one for each solvent, to allow variable amounts mixed together. Must be high purity solvents (HPLC grade), purge to exclude air/gas. Pump: develop and maintain high pressure. Column: made of steel, 10-30cm. packed columns(silica, alumina, polymer etc) coated with stationary phase, the smaller (and more uniform) the particles, the better the resolution. normally no temp controller. speed of elution is controlled by changing solvent polarity, stationary phase can be anything (normal, reverse, ion-exchange, size-exclusion, chiral) Detectors: Spectroscopic Detectors: often Uv-vis, area detector to sample spectrum quickly, could also be IR; Mass Spec; Refractive index: compares R.I of pure solvent to solution(containing analyte), very general but very temp sensitive, low sensitivity  Light Scattering: eluent passes through nebulizer, mobile phase boiled off, light scattered off any solids remaining. Very general, only for non-volatile analytes. Types of HPLC: variants based on column packing Partition chromatograph: liquid stationary phase bound to the packing material. Could be polar(normal) or nonpolar(reverse) most common type. Adsorption: no coating on packing material physical sticking to particle acts to slow analyte migration Ion exchange; Size Exclusion. Comparison between HPLC/GC: organic volatiles only for GC, anything for HPLC; easy interface with mass spec for GC, not for HPLC; cost is low for GC, high for HPLC; increase volume to preparative scale for HPLC, not for GC (need a specialized prep scale column) Electrophoresis: LC technique usually for biomolecules(polar). combines liquid(polar) chromatography with voltage(which affects charge) (can be used for any charged particle) Gel Electrophresis: slow, prep scale Capillary Electrophoresis: faster, better resolution, analytical scale only General Principles: biomolecules are large and charged (egproteins, nucleotides) voltage applied across a column or sheet with a seize selection gel on it, high charge density movies fastest ( small size high charge) (at basic pH many biomolecules are –‘vely charged, therefore +’ve electrode at detector) Use of Capillary: applied voltage causes heat to build up. Faster elutions, solvent evapouration (balance it out), plate count ^ as V ^. Therefore higher V = better, faster separation. V=μeE=μeV/L , N=μcV/2D Capillary vs plate dissipates heavy very quickly due to high surface area to volume ratio. Can run capillary electrophoresis at much higher voltage. Instrumentation: voltage source (20-60 kV)-> solvent reservoir-> column(fused silica stationary phase)-> detectors( like for HPLC) Electroosmotic Flow: all cations/anions/neutrals will eventually come off an electrophretic column, surface of capillary is –‘vly charged, mobile phase contains buffers, cations in buffer are attracted to capillary walls, drags solvents with them, everything is dragged along by this electroosmotic flow -> +’ve charged analytes also attracted to walls and move with their own speed in addition to the flow.-> neutral follows flow. -> -‘ve are slowed by repulsion but dragged with flow anyways. Reversing electroosmotic Flow-> reverse electrodes, so put +’ve at detector. Need +’ve on stationary phase/walls. Convert SiOH groups to SiNH2 groups. Stopping Electroosmotic Flow: Still have voltage to cause migration of oppositely charged species(-‘ve electrode @ detector will take off only +’vly charged analytes) coat capillary wall/stationary phase with a non-ioniable substance (Ttrimethylsilyl- Si-o-Si(CH3)3 ). in this case no neutral analytes will ever come off. Switch electrodes to remove –‘vly charged instead. Capillary Zone Electrophoresis: uses a constant buffer . same as general electrophoresis. good for proteins, small (in)organic species, pesticides, drugs, carbohydrates. Capillary Gel Electrophoresis: coat extra buffer into pores of the polymeric gel matrix, used for materials with same charge but different sizes (ie DNA fragments) Micellar Electrokinetic Capillary Chromatography: add a surfactant(soap) to mobile phase , forms micelles. polar molecules stay in mobile phase, nonpolar get pulled into micelle. micelles drag a lot and retard the motion of the nonpolar analytes through the column  Chirality: columns can have a chiral stationary phase(true for any LC ie HPLC, electrophoresis, etc) chiral stationary phase will retain one enantiomer in preference to its optical isomer. Electrochemistry: Balance, then O then H and e- and OH- if basic->add red.pot. +’ve=spon. ΔE=ΔEo-0.0592/n*logQ Galvanic cell=spon. Gen elec. Eo>0 Electrolytic cell=non spon. Add elec to drive rxn. Eo<0 , Eo=0 =equil. double layer: near electrode solution is polarized because it feels the effect of charge on electrode, compact inner layer potential decreases linearly with distance, diffuse outer layer potential decreases exponentially. layer of solution close to electrode is not same comp as the bulk soln Redox process: from bulk: mass transfer(to get into doublelayer), chem. pre rxn, stick to surface(state change), e- transfer and reverse order to go back to bulk (any step could be the RDS) mass transfer: convection- mechanical stirring or flow of solution over electrode, migration-electrostatic attraction/repulsion of charged species, diffusion-[] gradient, materials diffuse to equalize the gradient, if this step is RDS: [] polarization. Rate limited by the speed at which material can get to the electrode. Chemical Rxn: if RDS, reaction polarization->Physical state change: incoming material must precip/crystal/adsorb to surface. If RDS, crystal/adsorp/desorp polarization->electron transfer: if RDS charge transfer polarization->Implication: overvoltage->voltage will differ from theoretical if affected by these RDS: galvanic = produce smaller, *electrolytic = require larger-> over voltage is increased by: area ↓, temp ↓, softmetals (Pb,Cd,Hg), gaseous materials. Advantage: maximize overvoltage of decomposition rxns so they take placevery slowly, ie car battery. Use Pb as electrode and use H2SO4as electrolyte (H2 released)->Potentiometry:  measured with 0 current, electrode dipped in soln, measure V, compare with Eo of rxn, convert to [] using ΔE=ΔEo-RT/nF*lnQ, solving for Q-> Parts of potentiometer (pH meter): Reference Electrode: H+/H2 electrode (SHE): H+ + e- -> .5H2 E0=0 (1 atm, 1M), not commonly used (flammable and overvoltage issues)->Saturated calomel electrode(SCE): Hg2Cl2(s)+ 2e- -> 2Hg(l)+2Cl-(aq) Eo=0.2444V @25oC (Hg|Hg2Cl2(sat), KCL||) Disdvantage: high T variability, and contains Hg->Silver/Silver chloride (Ag/AgCl): Ag|AgCl(sat),KCL||, AgCl + e- -> Ag(s) + Cl- Eo=0.199 @ 25oC-> The junction: area where charge is rebalanced to compensate for e- flow, usually ions moving, want to ensure equal mobility to cations/anions crossing barrier between electrode and solution, otherwise get charge gradient giving a junction potential, Ej->use KCL: same size cation/anions as salt in bridge.->Indicator electrode: Piece of metal: same metal as the cation you want to measure eg Pb for Pb2+ (not specific, most metals plate onto other metals, and may oxidize in air eg Fe-> Fe2O3, chemically reactive in water, ie Na), metals that form salts (small ksp) can measure for that anion, ie Ag+ + Cl- -> AgCl(s) to measure [Cl-]. Membrane electrodes: Basic-thin film of material, glass, plastic, crystal, must react with analyte species in soln, ie CdS film to measure [Cd2+]. Glasses exchange cations on glass for H+ that goes on the glass. Can get specificity if the film only reacts preferentially with one cation. Gas Permeable- membrane is microporous and hydrophobic (no ionic/polar species through) most gasses can pass through. Gas undergoes redox rxn inside electrode ie CO2 + 2H2O->HCO3- + H3O+ (pH also changes). Field-effect transistors: thin semi-conducting film. Conductivity varies with composition of semi conductor, composition changes through rxn with analyte from soln. Application of Potentiometry: Ecell=Eind-Eref+Ej, Eind=L +0.0592/n *log ax (L=Eo ifEj=0, ax~[X]. Ej is determined or zero’d using standard pH buffers. Ex: Mn+(aq) + ne-->M(s), Q=1/amn+~1/[Mn+] at low[] and no interaction between species in solution, otherwise am is lowered, log 1/[Mn+]=-log[Mn+]. pX=-log[Mn+], pA=-log[An-]-> Ecell=K-0.0592/n *pX, or K+0.0592/n pA, pHu=pHs-(Eu-Es/0.0592). EX: PbI2(s)+2e-->Pb(s)+2I-. Calc Eo for the process: PbI2(s)+2e--> Pb(s)+2I-(aq), for Pb2++2e--> Pb(s). E=Eo-0.0592/2 *logQ where Q= 1/[Pb2+] -> [Pb2+]=ksp/[I-]2, so E=Eo-0.0592/2 *log*1/ksp ([I-]= 1M cuz its in the Eo expression. Measured V= -0.348,What is [I-]?Eactual = Emeasured+ESCE ref electrode ,E=Eo-0.0592/n * logQ -> 2log[I-]= 2(Eo+E)/0.0592. Because use of approxs, can use method of standard addition to get around approxs. Ex:50ml Cr3+ through standard addition. E1=-0.893. 5ml of 0.0150M Cr3+ added, E2=-0.875. Original [Cr3+]? pX= -n(Ecell-k)/0.0592->log[Cr3+]=3(E1-k)/0.0592 ->log([Cr3+](50)+(5)(0.0150)/5+50)=3(E2-k)/0.0592 -> log[Cr3+]-log(50[Cr3+]/55 +0.0750/55)=3E1-3k-3E2+3k/0.0592 ->log([Cr3+]/0.9[Cr3+]+1.34x10-3)=3E1-3E2/0.0952 -> [Cr3+]/0.9[Cr3+]+1.34x10-3= 0.1224 -> [Cr3+]=1.88x10-4M. Coulometry: using electrons as a stoichiometric unit. Eg. Ca2++2e--> Ca(s). Measure # of moles of e-, can solve for # moles ofCa2+ (2:1). A=C/s, mole e-=96485C. Electrogravimetry:  applying a voltage to fully red. an analyte, analytes that reduce to a solid, weigh solid. Ex: can Fe2+ be determined in the presence of Zn2+ and Pb2+? Assume [Mn+] to range from 0.100M to 1x10-5M. Pb2++2e--> Pb, Eo= -0.126,Fe2+ is -0.440, and Zn2+ is -0.763. -> EFe=EoFe-0.0952/2 *log(1/[Fe2+]) =-0.470V for 0.100M and -0.588V for 1x10-5M gives the range. Repeat for other two, and observe if there is any overlap. No overlap, so [Fe2+] can be determined if Pb is removed at E= -0.3 and Fe comes off before Zn at E=-0.6. Potentiostatic: (spontaneous, non spontaneous, bubbling gas through to involve gasses, reduction of organics ie phenol with 3 NO2 groups plus 18H+and18e- gives phenol with 3 NH2 groups) measure the # of e- as follows: ∫tf0i dt= total # of e- -> apply voltage, current will drop off exponentially-> integrate i v t curve: C of charge-> convert to mol e- -> convert to mol of analyte (balanced eqn). Ex:  NaCN neutralised in 202s with current of 43.4mA, [NaCN] in original soln of 10ml? #e-=(A)(t)(1mol e-/96485C)=mol of e-=mol H+=(1:1)mol CN--> [CN-]=[NaCN]=#mol CN-/ml orig soln. ->Voltammetry: plot i v E, get current increase when a redox reaction occurs (no current = no rxn, or completed)->Working, reference and counter electrodes, operating under extreme concentration polarization, only sampling double layer, concentrations don’t change in bulk. Il=imax α [] -> Polarography:(never used)->uses Hg drop electrode, gives fresh electrode surface because new Hg is constantly added to the electrode-> Linear scan Voltammetry->Hydrodynamic Voltammetry: current flows between working and counter electrode (material from reference electrode is isolated from analyte) add supporting electrolyte to carry the current, when supporting electrode [] is 100x that of analyte, current flow is independent of [analyte]->under [] polarization, rate analyte reaches electrode is independent of voltage(migration inactive) and by stirring the convection method dominated -> limiting current, il α [ ], il=kCA -> plot il v C to get a standard line-> to get reproducible il need reproducible convection(stirring).-> Uses: Titrations, detector for LC(can detect salts that a UV-vis or IR detector would miss), dissolved oxygen in water, some biomolecules(sugar)-> Cyclic Voltammetry:  i v E, but potential cycles back and forth between +’ve and –‘ve -> scan quickly, get a spike because the material at the double layer gets used up, then current drops off to convection-limiting current (current is ultimately limited by new material reaching electrode) [Fe(CN)6]3- + e- -> [Fe(CN)6]4-  A. No rxn b/c not right voltage, B. Fe3+ starts to be reduced, same with at C, D. Used up all Fe3+ in double layer, E. Current drops off b/c new material isn’t reaching electrode fast enough, F. Il, G.Fe2+ being oxidized back into Fe3+, H. Usedup all Fe2+ in double layer, I. Difference in i represents the amount of Fe2+ (product of 1st rxn) that has escaped into bulk solution. Uses:  Stability of ox or red species(cationic/anionic form of analyte)-> # of e- in the redox couple is determined from peak to peak distance, peak to peak distance=0.0592/n where n =#e-. Stripping method: subject analyte to high potential so everything in solution is reduced (presumably then they plate on electrode) E<-1.00V for metal cations. -> all Mn+ +ne- -> M(s) (on electrode), after deposition, decrease potential slowly to stepwise re-oxidize the metals: M1(s)->M1n+ E=EM1, M2(s)->M2n+ E=EM2, etc. Advantage: preconcentration of all analytes at the electrode Therefore more sensitive ~10-9M. Adsorptive stripping: instead of stripping vis voltage, strip it through adsorption (like a stationary phase in LC), coat electrode with some material that will absorb or adsorb (ie metal complexing agent) analytes, after extracting analyte from solution, it’s preconcentrated, then run electrochemistry, sensitivity ~10-11M.Mass spec: hard fragments, soft keeps intact. Source: any gas phase ions. Mass analyser: sorts by m/z ratio. Ionization step followed by sorting using magnetic field. Higher charge reduces apparent mass. Detector: matter hits target, which releases e-, # of e- correspond to # of analyte particles. Runs at 10-8atm. Isotopes: low res= +-1 amu, high res = +- 0.001amu or better. If 50:50 ratio use pascals triangle. If not. Use y xC (abundance of 1)y-x(abundance of 2)x. Atomic mass spec: ICP: very sensitive, used for trace analysis. Source: gas fully ionized, analyte added through nebulizer, high T destroys analyte to elements. To couple to MS add skimmer. Hard source: ICP. e- impact: shoot high E e- at analyte to ionize and break it apart. Bonds break at weak points and points to make stable ions. Single ionization is most common. Chemical ionization: ionized carrier gas ionizes analyte. Soft source: fast atom bombardment. High E atoms cause ionization. Creates gas phase ions from solid. Maldi. Matrix assisted laser desorption/ ionization. Mix analyte with strongly absorbing matrix (UV) excite with laser, E transfers from matrix to analyte causing it to desorb (go to gas) and ionize. Electrospray. Solution. Aerosol passed through voltage creates charged droplets, pass through vacuum to evap solvent. Charge transfers to analyte. Intact charged molecules! Field ionization: apply voltage across gas analyte stream. Mass analyser: Quadrupole 4poles, 2 start +’ve. 2 start –‘ve. +’ve ions attracted to –‘ve poles and start to “crash” based on mass. –‘ve pole is low mass filter, eliminating light ions, +’ve is high mass filter, eliminating high mass. Only the middle ground survives. Magnetic sector analysis ions accel by voltage into curved path. Attracted to inside of curve. Magnitudeof charge on curve allows selectivity of mass to get through (charge ^, mass^ allowed through) m/z = B2r2e /2v Double focusing 2 magnetic sectors in series. First is low rez, 2nd is high. Time of Flight ions accel by initial voltage then left to drift through a tube. KE=1/2 mv2, so lighter goes faster. Lighter the m/z, faster it reaches detector. Resolution R= mavg/delta m Tamdem mass spec 2 MS in series, first soft then hard. Allows simultaneous analysis. Quantitative Analysis with MS:  (atomic) often with ICP-MS. Use calibration line using areas of MS peals. Could also spike analyte solution with known [] internal standard. (In or Rh) or use ratio of isotopes, ie carbon dating. Molecular MS MS detector hooked up to chromatogram(quantization). Spike with stable isotopes of known [] of deuterated sites. (both types). Qualitative MS: identification of mol ion in high rez or atomic analysis (ICP MS to get % of each element, or isotopic distribution); fragmentation patterns give info on functional groups. Ie molecules break at weak bonds or to form stable cations. Complication: multiple fragmentation, rearrangement, and not obvious fragments.