Lab 2: Analysis of Aspirin

Sarah Bento-De Sousa

7737390

CHM2354

Section D morning

Nicholas Andrella

Department of Chemistry

University of Ottawa

February 8th 2016

Abstract:

Aspirin is an important medicine that has been used for more than a hundred years. This experiment looks to determine percentage of aspirin’s active ingredient acetyl salicylic acid (ASA) present in tablets and a homogenous powdered preparation. For those who take aspirin as a daily medicine it is imperative that dosage be correct as excess of drug in the system can cause stomach lesions.  The outcomes of this analysis will be studied using statistical analysis; t-test and shewhart control chart which compare the experimental data with a known concentration of ASA in mg per tablet.  The null hypothesis indicates that the experimental data is not significantly different from the given mean at a certainty of 95%. The alternative hypothesis poses that the data is significantly different from the given mean at the same level of certainty. For the pills to be safe to consume the null hypothesis must be proven correct and there must not be a statistical difference between the experimental mean weight of ASA per mg of tablet and the given mean.

Introduction:

Aspirin’s active ingredient is combined with fillers and binders (in this case corn-starch and SiO2) that allow the tablet to be shaped and preserved to be sold. By dissolving the tablets the amount of ASA can be determined with titration. By this method, it can be determined whether the product being sold has the correct advertising displayed on the packaging. Titration is an essential analytical chemistry tool that uses the properties of acid base reactions. An acid and a base can be mixed together with a pH indicator that will indicate when the reaction has neutralized by a change of colour at the endpoint. By determining how much acid is needed to neutralize ASA in a basic solution one can determine the amount of base that is in equilibrium with ASA, and from this information mathematically calculate the amount of ASA present in the sample.

The advantage to this method is that it is quite simple. A series of standardization titrations are prepared determining the molarity of the acid and base (HCl and NaOH) that will be used to determine the amount of ASA in the samples. However, preparing several standards is time consuming and the results of the experiment can have additional error not resulting from instruments, as these standards will deteriorate over time. The only primary standard to be used in this experiment is hydrogen potassium phthalate which standardizes the NaOH which in turn standardizes NCl.

Experimental:

A detailed description of the laboratory procedure can be found in the Laboratory of Analytical Chemistry laboratory manual. It outlines a detailed procedure on producing the standards required for this experiment. The only change made to this procedure was the order of the steps. The HCl and NaOH standards were prepared simultaneously at the beginning of the experiment. The full procedure can be found on pages 27-30

Table one: Mass measurements (g)

| Substance | Mass (±0.001g) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Trial 1 | Trial 2 | Trial 3 | Trial 4 | Trial 5 |
| NaOH Tablet | 5.0040g | — | — | — | — |
| Potassium hydrogen phthalate | 0.7009g | 0.6999g | 0.7007g | 0.7006 | 0.7009 |
| Aspirin tablets | 0.4229g | 0.4256g | 0.4280g | — | — |
| Aspirin powder | 0.3918g | — | — | — | — |

Results and discussion:

Data:

Table 2: Standardization of NaOH with C8H5KO4

| Trial | Moles KHP(mol) | Initial Volume (±0.02mL | Final Volume (±0.02mL) | Volume NaOH (±0.03mL) | Concentration NaOH (mol/L) (±0.001) |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.003432 | 0.00 | 27.70 | 27.70 | 0.1239 |
| 2 | 0.003427 | 0.20 | 28.58 | 28.38 | 0.1208 |
| 3 | 0.003431 | 0.28 | 28.90 | 28.62 | 0.1199 |
| 4 | 0.003431 | 8.48 | 36.60 | 28.12 | 0.1220 |
| 5 | 0.003432 | 15.02 | 43.52 | 28.50 | 0.1204 |

Table 3: Standardization of HCl with NaOH

| Trial | Moles NaOH (mol) | Initial Volume (±0.02mL | Final Volume (±0.02mL) | Volume HCl (±0.03mL) | Concentration HCl (mol/L) (±0.002) |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.1203 | 0.24 | 21.42 | 21.18 | 0.1019 |
| 2 | 0.1203 | 0.04 | 21.28 | 21.24 | 0.1022 |
| 3 | 0.1203 | 21.24 | 42.50 | 21.26 | 0.1023 |

Table 4: Back titration of NaOH (ASA tablets)

| Tablet sample | Initial Volume (±0.02mL) | Final Volume (±0.02mL) | Volume HCl (±0.03mL) |
| --- | --- | --- | --- |
| 1.1 | 0.70 | 21.92 | 21.22 |
| 1.2 | 0.10 | 20.36 | 20.26 |
| 1.3 | 0.16 | 42.50 | 20.12 |
| 2.1 | 0.14 | 20.24 | 20.10 |
| 2.2 | 0.22 | 20.16 | 19.94 |
| 2.3 | 20.22 | 40.06 | 19.94 |
| 3.1 | 0.10 | 20.28 | 20.18 |
| 3.2 | 20.22 | 40.12 | 19.90 |
| 3.3 | 9.74 | 29.86 | 20.12 |

Table 5: Back titration of NaOH (ASA homogenous powder)

| Trial | Initial Volume (±0.02mL | Final Volume (±0.02mL) | Volume HCl (±0.03mL) |
| --- | --- | --- | --- |
| 1 | 0.12 | 20.72 | 20.60 |
| 2 | 20.94 | 41.52 | 20.58 |
| 3 | 22.20 | 42.72 | 20.52 |

Table 6: Concentration

| Trial | [KHP] ±0.001 | [NaOH] ±0.001 | [HCl] ±0.002 | [ASA tablet] ±0.005 | [ASA powder] ±0.005 |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.1239 | 0.1239 | 0.1019 | 0.3383, 0.3030, 0.3434 | 0.3258 |
| 2 | 0.1208 | 0.1208 | 0.1022 | 0.3442, 0.3501, 0.3501 | 0.3265 |
| 3 | 0.1199 | 0.1199 | 0.1023 | 0.3412, 0.3435, 0.3516 | 0.3288 |
| 4 | 0.1220 | 0.1220 | — | — | — |
| 5 | 0.1204 | 0.1204 | — | — | — |
| Average | 0.1203 | 0.1203 | 0.1021 | 0.3434 | 0.3270 |

Table 7: Mean [ASA] in tablet and powder

| Sample | % wt |  | Mg/tablet |  |
| --- | --- | --- | --- | --- |
| Tablet | Mean | Std deviation | Mean | Std. deviation |
| Individual Trial | 80.7 | 3.2 | 343.4 | 3.72 |
| Group data | 79.2 | 6.8 | 344.6 | 29.9 |
| Powder individual | 83.4% | 1.5 | 0.3270 | 0.005 |
| Powder group | 79.9 | 11.6 | - | - |

Table 8: t-test results

| Sample | t-test value | t-critical (95% α=0.05) | Significant? |
| --- | --- | --- | --- |
| Individual tablet | 8.578 | 2.919 | yes |
| Group tablet | 337.2 | 1.7139 | Yes |
| Group powder and tablet comparison | 0.514 | 1.6955 (one tail) 2.0395 (two tail) | no |

Figure 1: Shewhart control chart

Discussion:

The data establishes that the individual and group tablet data is similar in both %wt and mg/tab. They both indicate an average of about 344mg of acetyl salicylic acid per tablet. The tablets weighed by the analyst had an average weight of 425.5mg and were labelled to have 325mg per tablet of acetyl salicylic acid, meaning that approximately 75% of the tablet weight is the active ingredient ASA. In both group and individual data, the amount of ASA in the tablets corresponded to 80% of the tablet weight. Analysing both standard deviations for the data, the group mean accounts for a variability of 74-85% of the tablet weight %, however the individual data only corresponds to an approximate range of 77-83%.

Both t-tests for the tablet weights indicate that there is a significant difference in the data versus the mean. To elucidate, the null hypothesis for this experiment would be that the tablet weight measured by analytical titration is not significantly different from the indicated 325mg of ASA per tablet. The alternative hypothesis would be that the measured weight is significantly different than 325mg. The t-test were at a significance of α=0.05 with a 95% significance. Both t-tests indicated that the alternative hypothesis is favoured and that the null hypothesis should be rejected. However, this is not a favorable outcome for the analysis. For all intents and purposes the tablets should have a weight that is statistically non-significant, that is the data should fall close to 325mg.

The shewhart control chart gives a comprehensive look at the mg per tablet values. Most of the data does not fall within the warning lines of the listed tablet weight. This indicates poor accuracy in testing weights. If a pharmaceutical company obtained these results it is likely that the whole batch of pills would require retesting, and possibly would be destroyed since the bulk of the data does not fall within the required tablet weight. This data does not seem to indicate that the tablets were poorly made. In fact, since the data is consistently high there seems to be a systematic error of the analysis, an indication of poor precision of replicate analysis. To better control the weight, it would be useful for all analysts to work with the same batch of 0.1M NaOH and HCl to insure a standard concentration of the secondary standards used. This would create a smaller range of volumes used to neutralize the final solution of dissolved ASA tablets.

All of these results indicate that the measured tablet weight is an average of 20mg over the indicated value, and that this result is not expected and is also out of the allowed range variation based on the t-test values and the shewhart control chart. Although these results indicate poor analytical technique, there is still danger to having pills that have a higher dosage than advertised. Even though aspirin is a fairly innocuous and very common over the counter drug, a higher dosage for a patient who consistently takes aspirin can result in medical complications due to the time the drug stays within the body between doses. A consistently higher dose will mean the drug will continuously remain in the body system at low levels, so that every dose taken after this point will be elevated. Consistently elevated doses can be lethal for some drugs particularly those that have dangerous side effects above a certain threshold (cancer drugs). For aspirin, too much in the system can cause stomach lesions due to the blocking of the cox1 receptor.

The homogenous mixture of aspirin tablets fared better against statistical analysis. The null hypothesis for this set of data was that the individual powder results were not statistically different from the powder group data, while the alternative hypothesis indicated that the results were significantly different. With both a one tail and two tail t-test (looking at one or both sides of a standard Gaussian distribution curve) the results for the powder were not significantly different from each other. This means with 95% certainty the results are statistically the same and the weight of the powder falls within 79-83% weight containing ASA.

Conclusions:

Overall, the data did prove to give consistent analysis with the weight of ASA per sample weighing in between 79-84% of the total tablet weight. However, this translates to approximately 344mg of ASA per tablet which is 20mg more than the value indicated on the tablets (325mg). based on t-test and shewhart statistical measurements the data is significantly different and the null hypothesis is rejected.  This high error can be accounted of poor precision in analytical methods, indicative in the high standard deviation of the group data. However, the powder data is consistent between group and individual results at about 80% of tablet weight being ASA. In summary, it is possible to conclude that a lack of precision in analysis will lead to significant difference in results. It cannot be determined whether these results are truly accurate considering the conclusions that can be made with statistical analysis. A replication of this experiment with more standardization in the chemicals used. (i.e. one large batch of HCl and NaOH shared between analysts) would likely lead to results that fall within two standard deviations (i.e. a normal Gaussian distribution curve) of the determined mg per tablet weight of ASA.

Calculations:

A.1: Concentration of hydrogen potassium phthalate

Concentration=molesvolume

KHP=mass (g)molar mass (gmol)volume (L)

KHP=0.7009 (g)÷204.22 (gmol)0.0500 (L)

KHP=0.06864

A.2:  Concentration of NaOH

C8H5KO4 +NaOH  →H2O + NaK(C8H4O4)

NaOH= massKHP(g)molar massKHP (gmol)volumeNaOH (L)

NaOH=0.7009 (g)÷204.22(gmol)0.02838(L)

NaOH=0.1208(molL)

A.3: Concentration of HCl

HCl +NaOH →H2O + NaCl

HCl=[NaOH]NaOH molL×VolumeNaOH(L)volumeHCl (L)

HCl=0.1203 molL×0.02118(L)0.0250(L)

HCl=0.1019(molL)

A.4: Concentration of ASA in tablets (%wt, mg/tablet)

nHCl=nNaOH=HCl(molL)×VHCl (L)

nHCl=nNaOH=0.1021 (molL)×0.02026 (L)

nNaOH1=0.0020685mol

C9H8O4+2NaOH → C7H5O3+CH3CO2-+ H2O

nNaOH=0.1203M ×0.025L

nNaOH2=0.0030075 mol

nNaOH1-nNaOH2=0.003008-0.002069

nNaOH w/ ASA=0.00093895mol

mASA=1 mol ASA2 mol NaOH×0.0093895 mol ×180.16 gmol×4 aliquots

mASA=0.3383g

mASA=338.3mgtablet

%wt =0.3383g0.4229g×100

%wt =80%

A.5 Concentration of ASA in powder

nHCl=nNaOH=HCl(molL)×VHCl (L)

nHCl=nNaOH=0.1021 (molL)×0.02060 (L)

nNaOH1=0.0021033mol

C9H8O4+2NaOH → C7H5O3+CH3CO2-+ H2O

nNaOH=0.1203M ×0.025L

nNaOH2=0.0030075 mol

nNaOH1-nNaOH2=0.003008-0.002103

nNaOH w/ ASA=0.0009042mol

mASA=1 mol ASA2 mol NaOH×0.009042 mol ×180.16 gmol×4 aliquots

mASA=0.3258g

mASA=325.8mgtablet

%wt=0.3258g0.3918g×100

%wt=83%

A.6 Mean concentration of three trials of one tablet

nHCl=nNaOH=HCl(molL)×VHCl (L)

nHCl=nNaOH=0.1021 (molL)×0.1999 (L)

nNaOH1=0.0020409mol

C9H8O4+2NaOH → C7H5O3+CH3CO2-+ H2O

nNaOH=0.1203M ×0.025L

nNaOH2=0.0030075 mol

nNaOH1-nNaOH2=0.003008-0.002041

nNaOH w/ ASA=0.0009665mol

mASA=1 mol ASA2 mol NaOH×0.009665 mol ×180.16 gmol×4 aliquots

mASA=0.3483g

mASA=348.3mgtablet

A.7 standard deviation for A.6

s=0.0919.992+0.00020.10212+0.00050.12032+0.00010.42562

s=0.005

B.1 Group mean for mg ASA/tablet

(E9)= AVERAGE(B9:B32)

B.2  Group mean for  %wt ASA in tablet

(E13)= AVERAGE(C9:C33)

B.3 Group mean for %wt ASA in powder

(C36)= AVERAGE(B36:B43)

B.4  Standard Deviations in all 3 of the above values

(F9)= STDEV(B9:B32)

(F13)= STDEV(C9:C33)

(D36)= STDEV(C9:C33)

B.5  t-test between your mean mg/tablet and the manufacturer’s mg/tablet  (325 mg/tablet)

(04) =(L5-O7)/N5

B.6  t-test between the group mean mg/tablet and the manufacturer’s mg/tablet  (325 mg/tablet)

(O15) =(L16-O18)/N16

B.7  t-test between the group mean %wt for powder and the group mean %wt for tablets

=|C26-E13|/sPOOLED*SQRT(C38*E14/C38-E14)

Where spooled=SQRT((D36^2*(C38-1) +F13^2*(E14-1))/C38+E14-2))

B.8  A Shewhart chart comparing group data of mass ASA per tablet to the manufacturer’s mg/tablet (325 mg/tablet).

Warning line:

Upper: (I9) =C68+(2*B68)/SQRT(E10) Lower: (H9)=C68-(2*B68)/SQRT(E10)

Action Line:

Upper: (I13) C68+(3*B68)/SQRT(E10)  Lower: (H13) C68-(3*B68)/SQRT(E10)

Department of Chemistry, Laboratory of Analytical Chemistry. University of Ottawa. Winter 2016

Includes the individual concentration of three trials of each tablet. The average includes the average of all three tablets.

Note that the average is taken of the best three measurements if there are more than 3 measurements.