# Deriving the Density of an Aluminum Cylinder using a Micrometer, Vernier Caliper and a Balance

Purpose:To determine and compare the theoretical and experimental densities of a cylindrical object made out of aluminum and the values' average error.

Theory:The density of an object can measured via two methods: direct measurement Pcyl=4mπd^2L and Archimedes LawPcyl=PH2OW in airW in air-W in H2O, where PH2O= 1.0 g/cm3. The supposed, theoretical density of aluminum is given to be 2.7 x 103 kg/m3 and it will be compared to the experimental densities derived from an aluminum cylinder with a small hollow hole in the centre. Using the Vernier caliper, length measurements will be made with an error to the half of the smallest division. The total number of divisions on Vernier calipers are one less than the main scale. A micrometer will measure the diameter of the cylinder, ensuring that the axis of the object is perpendicular to the caliper for a diameter measurement rather than a chord measurement. It is also crucial to measure the initial zero of the micrometer to apply the initial calibration amount to Δd.  Both the mass and the weight will be measured using the same scale, hanging the cylinder in air and completely submerged in a glass beaker of water without touching the sides or the bottom. All of these measurements will be measured a minimum of 4 trials to ensure for consistency and a more precise mean value. In fluid mechanics, the cylinder submerged in water at rest is acted upon by an upward (buoyant) force of magnitude equal and opposite to the weight of fluid displaced by the cylinder. This upward force of the liquid is produced being that the pressure in the surrounding liquid increases with depth below the surface. Being that two same methods are being used to measure the weight of cylinder (in air and water) as well as to measure overall density of the cylinder, their values must be compared and deemed as consistent or not. According to Archimedes' principle, the weight of the object is reduced by its volume multiplied by the density of the fluid. Mass of displaced fluid: m= pV, fluid displaced weight: W = mg, weight of displaced fluid (substitute in m=pV): W = pVg.

Procedure:Open the Logger Pro Density file from CuLearn. Record the mass (g) of the cylinder on top of the calibrated balance for 4 trials, removing the cylinder and recalibrating the balance between each trial. Record the measurements. Using Vernier caliper, place the cylinder lengthwise between the tongs and measure the length of the cylinder using the applied principles and rules. Remove the cylinder from caliper tongs, measure, and record the cylinder length for a total of 4 trials. Record the initial calibration of the micrometer and measure the diameter of the cylinder. Remove cylinder and repeat measurements for a total of four trials. Weigh the cylinder by hanging the threaded through the center string onto the hook beneath the balance. Record its weight in air, remove the cylinder, calibrate the balance and repeat for a total of four trials. Place water within a glass beaker and submerge the cylinder completely that is hanging off of the balance hook. Ensure that the cylinder is not touching the sides nor moving, record weight, remove cylinder out of the water and off the balance. Repeat and measure the cylinder's weight in water 4 times and record on Logger Pro. Using the Logger Pro STATS, calculate each component's mean and standard deviation. Print the Histograms of DMden and ALden and have Ta sign.

Apparatus:

- Vernier 		- Balance (to mg) 		- Micrometer			- Water

- glass beaker			- Aluminum cylinder with string thread through

- Logger Pro File: Density

Observations:

The Quantitative Observations and Measurements of the Aluminum Cylinder: Mass, Diameter, Length, Weight in Air, Weight in Water

| Trial | Mass (g) | Length (cm) | Do (cm) | d (cm) | WinAir (g) | WinH2O (g) | DMden (g/cm3) | ALden (g/cm3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 14.27 | 1.855 | 0.001 | 2.01 | 14.27 | 8.99 | 2.428 | 2.703 |
| 2 | 14.28 | 1.855 | 0.001 | 2.007 | 14.29 | 9.02 | 2.437 | 2.712 |
| 3 | 14.28 | 1.855 | 0.001 | 2.004 | 14.27 | 8.74 | 2.444 | 2.580 |
| 4 | 14.27 | 1.855 | 0.001 | 2.006 | 14.28 | 8.75 | 2.438 | 2.582 |
| Mean | 14.275 | 1.855 | 0.001 | 2.007 | 14.28 | 8.875 | 2.437 | 2.644 |
| STDEV | 0.005774 | 0 | 0 | 0.0025 | 0.009574 | 0.1507 | 0.006688 | 0.07269 |
| Inefficient Stat. | 0.005 | 0 | 0 | 0.003 | 0.005 | 0.14 | 0.008 | 0.066 |

Calculations:

Mean values and standard deviations derived from the STATS of Logger Pro.

Sample Calculation for Inefficient Statistic: σx= H-LN	, H = highest value, L = lowest value

σx(Mass)= 14.28-14.274

σx(Mass)=0.005 g

Therefore: mean ± inefficient statistics

Mass: 14.275g ± 0.005g, Reading Error of Scale: 0.01g/2  = 0.005g

2≶ σx/σr, 2≶ 0.005/0.005, 2>1, Mass is consistent

Length: 1.855 cm ± 0cm, Reading Error of Vernier Caliper: 0.001cm/2 = 0.0005 cm

2≶ σx/σr, 2≶ 0/0.0005, 2>0, Length is consistent

Do: 0.001 cm ± 0 cm

d: 2.007 cm ± 0.003 cm Reading Error of Micrometer: 0.001cm/2 = 0.0005 cm

2≶ σx/σr, 2≶ 0.003/0.0005, 2 < 6, diameter measurement is not consistent

WinAir: 14.280 g ± 0.005 g			WinH2O: 8.88 g ± 0.14 g

DMden: 2.437 g/cm3 ± 0.008 g/cm3		ALden: 2.644 g/cm3 ± 0.066 g/cm3

DIRECT METHOD

Density: ρaluminum= 2.7 g/cm3

ρexperimental=4mπd^2L

ρexperimental=4(14.275g)π(2.007cm)^2(1.855cm)

ρexperimental=57.1g23.474cm^3

ρexperimental=2.432 g/cm3

Percent Error: % error=theoretical-experimentaltheoretical x 100%

% error=2.7-2.4322.7 x 100%

% error=9.9%

Density Error: σ = ρ σM2M2+σL2L2 +4σd2d2

σ = 2.432 0.005M214.2752+1.855L202 +4(0.003)d22.0072

σ = 2.432 0.00000906

σ=0.00732

σ=0.007 g/cm3

Final Result: ρexperimental=2.432 g/cm3 ± 0.007 g/cm3

DMden: 2.437 g/cm3 ± 0.008 g/cm3

Consistency: ∆=2.437-2.432=0.005 g/cm3, σ∆=0.0072+0.0082=0.0106 g/cm3

2≶ ∆/σ∆, 2≶ 0.005/0.0106, 2 > 0.47, Direct Method Density values are consistent

ARCHIMEDES' LAW

Density: ρcyl= ρwwin air win air-win water

ρcyl= 1.0g/cm314.280g14.280g-8.88g

ρcyl= 2.64 g/cm3

Percent Error: % error=theoretical-experimentaltheoretical x 100%

% error=2.7-2.642.7 x 100%

% error=2.2%

Density Error: σ = y2σx2(x-y)4+x2σy2(x-y)4, win air =x, win water=y

σ = 8.8820.005x2(14.280-8.88)4+14.28020.14y2(14.280-8.88)4

σ = 0.00197136850.3056+3.9968850.3056

σ =0.000002318+0.0047

σ =0.004702318

σ =0.069 g/cm3

Final Result: ρarchimedes'=2.64 g/cm3 ± 0.069 g/cm3

ALden: 2.644 g/cm3 ± 0.066 g/cm3

Consistency: ∆=2.644-2.64=0.004 g/cm3, σ∆=0.0692+0.0662=0.095 g/cm3

2≶ ∆/σ∆, 2≶ 0.004/0.095, 2 > 0.04, Archimedes' law Density values are consistent

Comparing Results

2≶|ρDM-ρAL|σDM2+σAL2

2≶|2.432-2.64|0.0072+0.0692

2≶0.2080.06935

2 < 2.99

Therefore, the densities derived via direct method and Archimedes' Law are inconsistent.

Inconsistent:

ρav=ρDM+ρAL2

ρav=2.432+2.642

ρav=2.536 g/cm3

σ=|ρDM-ρAL|+(σDM+σAL)2

σ=|2.432-2.64|+(0.007+0.069)2

σ=0.2842

σ=0.142 g/cm3

Final Density: 2.5 g/cm3 ± 0.1 g/cm3

% Error =theoretical - experimentaltheoretical x 100%

% Error =2.7 - 2.52.7 x100%

% Error = 7.4%

Results:

The cylinder of aluminum's experimental density was derived with two methods as follows: the Archimedes' Law  - ρarchimedes'=2.64 g/cm3 ± 0.069 g/cm3 and the direct method - ρexperimental=2.432 g/cm3 ± 0.007 g/cm3. The two measurements of densities were calculated to be inconsistent in comparison, and thus the average result of the cylinder's density is - 2.5 g/cm3 ± 0.1 g/cm3 , 7.4% off the theoretical density of aluminum of 2.7 g/cm3.

Discussion:

Being that only 4 trials were completed for each measurement, the values were still accurate and precise, but the histographs were much smaller and did not follow the Gauss law. There were no outliers removed from the small sample size and there was no normal distribution created, therefore inefficient statistics must be used rather than statistical deviation of the mean when calculating error. When two values of density are being measured using two different methods, the comparison test demonstrates that the direct method and Archimedes' law densities are inconsistent. Using the comparison test of dividing inefficient statistics by reading error, the mass and length measurements were found to be consistent, while the diameter measurement was not consistent.

The lack of consistency of the diameter may be derived from a non precise measurement of the diameter using the micrometer. Being that the cylinder's diameter must be measured as a rounded cross section, measuring the exact cross sectional diameter that crosses the centre is unlikely or not as precise. The axis of the object may not be exactly perpendicular to the micrometer calipers causing the chord to be measured rather than the exact diameter. This may have been a quantity that contributed the most to the error and inconsistency of the direct method density and thus the average density consistency. The four measurements of mass, length and weight in air were extremely consistent and had a very minute standard deviation, contributing the least to both density errors. On the other hand, the measurements of diameter and weight in water were varied and had a larger standard deviation; thus contributing the most to the errors in both Direct Method (diameter) and Archimedes' Law (weight in water).

A possible weakness of the experiment could be the movement of the cylinder when weighing it in air and in water, where this causes a change in pressures of gravity and buoyancy, resulting in an imprecise measurement of weight. To improve, it is best to ensure that the scale is calibrated properly as well as to record the measurement of a completely still and unmoving object. Additionally, the mass of the string although minute, was measured along with the cylinder and incorporated in both the mass and weight of the cylinder. In the future, it is best to measure the mass and weight of the string separate of the cylinder and deduct it from the total measurement, similar to the initial distance measurement of the calibrated micrometer. As for the percent error, the theoretical density of 2.7 g/cm3 was larger than the experimental density of 2.5 g/cm3, primarily due to the hole running along the length of the cylinder in the centre to allow for the string to hang off the hook of the scale and be weighed.

The hole through the cylinder had a diameter approximately a tenth of the original cylinder, 2.007/10 = 0.2007 cm. The hole not only decreases the overall mass measured in the direct method, but the diameter of the aluminum cylinder is less than the mean diameter of 2.007 cm. 
P=4mπd^2L

With a smaller mass and diameter value than the theoretically whole cylinder, the experimental cylinder density would depend on the ratio of m:d^2 being they are the only two changed variables. A smaller diameter squared produces an even smaller value, ie: 2.007^2 cm vs. (2.007-0.2007)^2 cm = 4.028 cm vs. 3.263 cm. This decrease in both mass and diameter should as a result decrease the experimental density in comparison to the theoretical density.

Additionally, being that the cylinder is not whole it allows for movement of fluid from the bottom to the top and vice versa. This could change the forces of water exerted on the top and bottom of the object, being that they are dependent on the surface area which has increased due to the prominent hole running along the centre.