PHYS 383- Medical Physics

Section One: Lectures by Dr. Ernest Osei

Radiological Physics and Dosimetry

Introduction:

The Atom:

- The basic unit of matter

- Composed of a positively charged nucleus containing protons and neutrons, and negatively charged matter waves in discrete packets called electrons surrounding it. These electrons can be described as clouds around the nucleus.

Thomson Atomic Model:

- The earliest theoretical model of the atomic structure

- Denoted the ‘plum pudding model’

- Described the nucleus containing both positive and negative charges, yielding a uniform charge distribution across the atomic volume.

Rutherford Model:

- Overthrew the Thomson model in 1911 as the most accurate representation of atomic structure.

- Mass and positive charges are concentrated within the nucleus, while the negative charges act like a spherical cloud surround the nucleus.

Bohr Model:

- Electron revolve around the nucleus in defined orbits. These orbiting electrons do not lose energy, despite being in constant acceleration, and the angular momentum of these electrons is quantized.

- Atoms emit radiation during an electron transition, from a higher energy state to a lower one.

Isotopes:

- Atoms that have the same number of protons, but different number of neutrons.

Isotones:

- Atoms that have the same number of neutrons, but different number of protons.

Isobars:

- Atoms with the same mass (and hence the same number of nucleons), but different number of protons.

Isomers:

- Identical atoms with varying nuclear energy states.

Classification of Radiation:

Radiation can be classified as either ionizing or nonionizing.

Ionizing Radiation:

- Subatomic particles or electromagnetic waves that have the energy potency to remove or eject electrons from other atoms or molecules.

- Directly ionizing radiation uses charged particles, like alpha particles or electrons.

- Indirectly ionizing radiation uses neutral particles, like neutrons or photons.

Nonionizing Radiation:

- Electromagnetic waves that interact with atoms or molecules, with an energy that does not allow for electron ejection, such as IR or ultrasound.

The absorbed dose is a quantity applicable to both directly and indirectly ionizing radiation.

Directly Ionizing Radiation Resulting in Absorbed Dose:

- Charged particles transfer their kinetic energy directly to the medium.

Indirectly Ionizing Radiation:

- The particles transfer their energy as kerma (kinetic energy) to secondary particles.

- These charged particles transfer their kinetic energy onto the medium.

Furthermore, ionizing radiation can be further classified into four subcategories:

- Characteristic X-ray: 
A characteristic x-ray arises from electronic transitions between atomic shells.

- Bremsstrahlung:

Arises from electron-nucleus coulomb interactions.

- Gamma ray:

Arises from nuclear transitions.

- Annihilation quantum/ radiation:

Arises from electron-positron annihilation.

Alpha Particles:

- Helium nuclei with large mass and two protons.

- Highly charged

- Range is about 1-2 inches

- Shielding can be provided by a dead layer of skin, or paper.

- Biological Hazards are internal since they can deposit a large amount of energy into different tissues.

Beta Particles:

- Small mass since it deals with electrons

- Short range, from 1 inch to 20 feet

- Can be shielded by plastic

- Biologically, provides mostly an internal hazard, though it can be an irritant to skin and eyes.

Neutrons:

- Relatively large, no charge

- Large range within air, within several hundred feet.

- High penetrating power due to low charge.

- Can be shielded by water, concrete, or plastic, due to high H content.

- Provides a high biological hazard externally.

Gamma/X rays:

- Electromagnetic wave

- Very far range, within the scope of several meters

- Extremely high penetrating power

- Can be shielded by water, concrete, and lead

- Biological effects are high, can be either external or internal dependent on the location of the source.

Exponential Attenuation:

Photons are attenuated by either the photoelectric effect, Rayleigh, Compton scattering, or pair production.

The transfer of energy from photon to medium takes place in two stages:

- The interaction between photon and atom, causing electrons to enter motion.

- The transfer of energy to the medium via the high energy electron by either ionization or excitation.

If a narrow beam fluence (I) of photons is incident on an absorber of thickness dx, the number of photons which interact with the target atoms in the absorber and which are removed from the beam can be determined.

Linear Attenuation Coefficient:

- Probability per unit length that the photon will interact with the absorbing medium

- Depends on atomic number and the medium itself

Half Value Layer (HVL):

- Absorber thickness that attenuates the original intensity to 50% (ln2/LAC)

Tenth Value Layer (TVL):

- Absorber thickness that attenuates the original intensity to 10% (ln10/LAC)

Energy transfer coefficient:

The fraction of photon energy transferred into kinetic energy of charged particles per unit thickness of the absorber including energy loss to bremsstrahlung.

Exposure:

- Measure of ionization produced in air by photons

- Roentgen (R) is the unit

- SI unit is coloumbs/kg

- 1R = 2.58x10-4 C/kg air

- Define as the quotient of dQ by dm, where dQ is the total charge of the ions of one sign produced in air of mass dm

- Applies only to gamma or x rays

Kerma:

- Kinetic Energy Released in the medium per unit Mass

- the quotient dEtr by dm, where dEtr is the sum of the initial kinetic energies of all the charged ionizing particles liberated by uncharged particle in a material of mass dm

- Units J/kg

- applicable to indirectly ionizing radiations, such as photons and neutrons

- The energy transferred to electrons by photons can be expended in two different ways:

1. Through collision interaction (soft and hard collisions): low z materials

2. Through radiation interactions (bremsstrahlung and e-p annihilation: high z materials

Radiation Fraction (g):

- average fraction of the energy which is transferred to electrons and then lost through radiative processes

Absorbed Dose:

- Energy absorbed in a medium per unit mass

- SI unit is Gy or J/kg

- Electronic equilibrium is achieved when there is no attenuation in the primary

Relationship between Kerma and Exposure:

- Exposure is the ionization equivalent of the collision kerma in air.

- This relation is valid under the conditions that:

- photons escape the volume of interest

- secondary electrons are absorbed on the spot

- there is charged particle equilibrium (CPE) of secondary electrons

Radioactive Decay:

A stable atom has equal amounts of protons and neutrons. If an atom is unstable, it will undergo radioactive decay to reach a more desirable stable state.

Radioactive decay/radioactivity:

- The process in which the original atom (parent), undergoes decay of its unstable nucleus to form a new nuclear configuration of higher stability.(daughter)

- The energy emitted can either be in the form of electromagnetic radiation or kinetic energy.

There are four main types of radioactive decay:

- Alpha Decay:

- Unstable atom emits a He nucleus (two protons and two neutrons).

- Beta Decay:

- Can occur as either beta plus, beta minus, or electron capture

- Characterized by the ejection of either a positive or negative electron from the nucleus.

- Electron capture: a nuclear transformation in which a nucleus captures an atomic electron (K-shell), a proton is transforms to neutron and a neutrino is emitted.

- Gamma Decay:

- The process in which the nucleus changes from a higher energy state to a lower energy state through the emission of electromagnetic radiation (photons). The number of protons (and neutrons) in the nucleus does not change in this process, so the parent and daughter atoms are the same chemical element.

- Three types: pure gamma, auger effect, internal conversion

- Internal conversion: a nuclear transformation in which a nuclear de-excitation energy is transferred to an orbital electron (K-shell). The electron is emitted from the atom with a kinetic energy equal to the de-excitation energy less the electron binding energy. Resulting in shell vacancy is filled with a higher level electron orbital electrons resulting is characteristic photons or Auger electrons

Spontaneous Fission:

- nuclear transformation by which a high atomic mass nucleus spontaneously splits into two nearly equal fission fragments

Specific Activity: The activity of the parent radioactive atom per unit mass

Half Life: The time it takes for the number of radioactive atoms to decay from the initial value at time t=0 to half of the initial value

Mean life (τ): The mean life is the average lifetime of all the radioactive nuclei.

Equilibrium: When both parent and daughter are radioactive within a mixture, yet the daughter’s half-life is shorter than that of the parent. There are two types of equilibrium, secular and transient.

Secular Equilibrium: Achieved when the half-life of the parent is significantly greater (100-1000 times or more) than the half-life of the daughter. An example is Rn-266. Secular equilibrium is reached in about ~6T1/2 of the daughter.

Transient Equilibrium: Achieved when the half-life of the parent is slightly greater (about 10x) than that of the daughter. An example is Mo-99/Tc-99m generator. Is reached in about ~4T1/2 of the daughter.

Production of Radioisotopes:

Nuclear fission: Nuclides with high atomic number are fissionable by neutron bombardment in a nuclear reactor. For example, iodine-131, molybdenum-99 and xenon-133 can be produced in this way.

Charged particle bombardment: Radionuclides may be produced by bombarding target materials with charged particles in particle accelerators such as cyclotrons.

Neutron bombardment: Radionuclides may be produced by bombarding target materials with neutrons in nuclear reactors. The product is an isotope of the target element itself and hence cannot be chemically separated.

Photon Interactions with Matter

Indirectly Ionizing Radiations: Photon Beams

- Photoelectric effect:

- In this process a photon interacts with an atom (tightly bound electron) and ejects an orbital electron from the atom

- This process involves bound electrons: Interactions of this kind takes place with electrons in the K, L, M and N shells

- The entire energy of the photon is transferred to the electron to eject it from the atom

- Energy range: 50-100 keV

- Compton Interactions:

- The photon interacts with an atomic electron as though it were a ‘free’ electron.

- The photon transfers some energy to the electron ejecting it out of the atom with some kinetic energy

- The photon is scattered at an angle with a degraded energy.

- In soft tissue the Compton interaction is much more important than either the photoelectric effect or pair production process for photons in the range 100keV to 10MeV

- Pair Production:

- a photon interacts with the electromagnetic field of an atomic nucleus

- A photon gives up all its energy in the process of creating a pair consisting of a negative electron (e-) and a positive electron (e+).

- Two annihilation photons, each of energy 0.511 MeV are produced per interaction and radiated from the absorber

- In the case of Triplet production, electron (2)-positron (1) is produced in the coulomb field of an orbital electron and a triplet leave the site of interaction.

- Rayleigh Scattering:

- Interaction consists of an electromagnetic wave passing near the electron and setting it into oscillation.

- Scattered x-rays have the same energy as the incident beam.

- Probable in high atomic number materials and with photons of low energy

Directly Ionizing Interaction (Electrons):

- Inelastic collisions with atomic electrons: The incident electron is deflected from its original path and loses part of its kinetic energy to ionization or excitation. Atomic ionizations and excitations result in collision energy losses experienced by the incident electron and are characterized by collision (ionization) stopping power.

- Inelastic collisions with atomic nuclei: The incident electron is deflected from its original path and loses part of its kinetic energy in the form of bremsstrahlung and is characterized by radiation stopping power.

- Elastic collisions with atomic electrons: The incident electron is deflected from its original path but no energy loss occurs and characterized by angular scattering power

Linear stopping power: The rate of kinetic energy loss per unit path length by charged particle.

The linear energy transfer (LET)/restricted collision stopping power:

- Defined as the rate of energy loss per unit length in collisions in which energy is ‘locally’ absorbed, rather than carried away by secondary electrons

Delta rays: In the collision process with atomic electrons, if the KE acquired by the stripped electron is large enough for it to cause further ionization the electron is called a delta ray (δ-ray) or secondary electron

Collision interactions:

- In low Z media (water or tissue) electrons loss energy through ionization and/or excitation

- Rate of energy loss depends for collision interactions depends on electron density of the medium and the kinetic energy of the electron

- The rate of collision energy loss is greater for low atomic number (Z) absorbers than for high Z absorbers since high Z absorbers have lower electron density (fewer electrons per gram) like Pb and C, and high Z materials have more tightly bound electrons.

- Electrons losses energy at about 2MeV/cm in water

Radiative Processes:

- In high Z media (lead) electrons loss energy through bremsstrahlung production (breaking radiation)

- The rate of energy loss for radiation interactions is proportional to the kinetic energy of the electron and the square of the Z of the absorber

- Bremsstrahlung production through radiative losses is are efficient for higher energy electrons and higher atomic number absorbers (x-ray production: high energy with high Z material)

The total energy loss by electrons through a medium depends on

- Kinetic energy of the electron

- Atomic number of the absorber

- Electron density of the absorber

Cavity Theory:

Brag-Gray Cavity Theory:
	Bragg-Gray cavity theory establishes a relationship between the absorbed dose in a dosimeter and the absorbed dose in the medium containing the dosimeter. The following postulates apply:

- The cavity must be small when compared with the range of charged particles incident on it, so that its presence does not perturb the fluence of charged particles in the medium. This means that the region must be in charged particle equilibrium.

- The absorbed dose in the cavity is deposited solely by those electrons crossing the cavity. This implies that Photon interactions in the cavity are assumed negligible and thus ignored, all electrons depositing the dose inside the cavity are produced outside the cavity and completely cross the cavity, and no secondary electrons are produced inside the cavity (starters) and no electrons stop within the cavity (stoppers).

The Brag-Gray cavity theory has the following limitations:

- Does not take into account the creation of secondary (delta) electrons generated as a result of the slowing down of the primary electrons in the cavity.

- Some of these electrons released in the gas cavity may have sufficient energy to escape from the cavity carrying some of their energy with them out of the volume

- This reduces the energy absorbed in the cavity and requires a modification to the stopping power of the electrons crossing the cavity

Spencer-Attix modified Bragg-Gray cavity theory and changed stopping power to restricted stopping power (L / ρ), thus applying the previous conditions to delta electrons.

Radiation Dosimetry:

Dosimeter: A device that measures directly or indirectly the exposure, kerma, absorbed dose, equivalent dose etc

Dosimetry system: Combination of the dosimeter and its reader

A useful dosimeter exhibits the following properties:

- High accuracy and precision

- Linearity of signal with dose over a wide range

- Small dose and dose rate dependence

- Flat Energy response

- Small directional dependence

- High spatial resolution

- Large dynamic range

Accuracy: specifies the proximity of the mean value of a measurement to the true value

Precision: specifies the degree of reproducibility of a measurement (small standard deviation)

Small directional dependence:

- Due to construction details and physical size, dosimeters usually exhibit a certain directional dependence

High spatial resolution:

- Absorbed dose is a point quantity and the ideal measurements requires a point-like detector. E.g. TLD, Film and gel (point defined by the resolution) , pin-point micro-chamber

Flat energy response: The responds of a dosimeter is generally a function of energy. Calibration is done at a specified beam quality, a reading should generally be corrected if the user's beam quality is not identical to the calibration beam quality.

Absolute dosimetry: Reference dosimetry: Absolute dosimeter produces a signal from which the dose in its sensitive volume can be determined without requiring calibration in a known radiation field. e.g. Calorimetric, Chemical (Fricke), Ionization chamber dosimetry:

- Using primary standard in national standard laboratories

- Physical constants and conversion factors are well characterised that dose determined without the need to calibrate the dosimeters

Absolute (calibrated) dosimetry: Requires calibration of its signal in a known radiation field. e.g. Ionization chamber dosimetry:
Using a dosimeter which has a known calibration factor, traceable to a primary standard

Relative dosimetry: Requires calibration of its signal in a known radiation field. e.g. Film. Using a dosimeter which has a response proportional to the dose

Chemical (Fricke) Dosimetry:

- Ionizing radiation absorbed in certain media produces a chemical change in the media and the amount of this chemical change in the absorbing medium may be used as a measure of absorbed dose

- The Fricke dosimeter relies on oxidation of ferrous ions (Fe2+) into ferric ions (Fe3+) in an irradiated ferrous sulfate FeSO4 solution.

- Concentration of ferric ions increases proportionally with dose and is measured with absorption of ultraviolet light (304 nm) in a spectrophotometer

Free Air Ionization Chamber:

- Its sensitive volume is usually filled with ambient air and the dose related measured quantity is charge Q produced by radiation in the chamber sensitive volume

- Charges are collected by electrodes

- Sensitive volume and electron range limit radiations energies to about 0.3 MeV

Absolute dosimetry:

- Determination of absorbed dose (in Gy) at one reference point in a phantom

- Well defined geometry (example for a linear accelerator: measurements in water, at 100cm SSD, 10x10cm2 field size, depth 10cm

- Follows protocols: TG-21, TG-51

- OF TREMEDOUS IMPORTANCE! If the absolute dosimetry is incorrect, everything will be wrong.

Ionization Chamber:

- Ionization chamber is the most practical and most widely used type of dosimeter for accurate measurement of machine output in radiotherapy

- It may be used as an absolute or relative dosimeter

- Its sensitive volume is usually filled with ambient air and the dose related measured quantity is charge Q produced by radiation in the chamber sensitive volume

- Basic design of a cylindrical farmer-type ionization chamber

- It is a gas filled cavity surrounded by a conductive outer wall and having a central collecting electrode

- Advantages: Accurate and precise, Recommended for beam calibration, Necessary corrections well understood, Instant readout

- Disadvantages: Connecting cables required, High voltage supply required, Many corrections required

Relative dosimetry:

- Relates dose under non-reference conditions to the dose under reference conditions

- Typically at least two measurements are required: one in conditions where the dose shall be determined, one in conditions where the dose is known

Radiographic Film:

- A thin plastic base layer (200 mm) is covered with a sensitive emulsion of Ag Br-crystals in gelatine (10-20 mm).

- During irradiation the AgBr is ionized, Ag+ ions are reduced to Ag

- Advantages: 2-D spatial resolution, Very thin: does not perturb the beam

- Disadvantages: Darkroom and processing facilities required., Processing difficult to control, Variation between films & batches, Needs proper calibration against ionization chambers, Energy dependence problems, Cannot be used for beam calibration

Thermoluminescent Dosimeter (TLD):

- Must be calibrated

- Before use, TLDs have to be annealed to erase any residual signal.

- TLDs are available in various forms (e.g., powder, chip, rod, ribbon).

- Must always be handled with care

- Advantage: Small in size: point dose measurements possible, Many TLDs can be exposed in a single exposure, Available in various forms, Some are reasonably tissue equivalent, Not expensive

- Disadvantage: Signal erased during readout, Easy to lose reading, No instant readout, Accurate results require care, Readout and calibration is time consuming, Not recommended for beam calibration.

Phantom: A common name for materials that are used to replace the patient in studies of radiation interactions in patients

Phantom material should meet the following criteria:

- Absorb photons in the same manner as tissue.

- Scatter photons in the same manner as tissue.

- Have the same density as tissue

- Contain the same number of electrons per gram as tissue.

- Have the same effective atomic number as tissue

Water is the standard and most universal phantom material for dosimetry measurements of photon and electron beams

Ethics:

COMP/CCPM Guiding Principles:

- Medical Physicists must be committed to using their education, experience, skills and talents for the benefit of society.

- Medical Physicists shall always actively promote and safeguard the well-being and interest of the patient, public and co-workers.

- The Medical Physicist shall strive to avoid conflict of interest and to declare to those affected or potentially affected any situation that could lead to conflict of interest.

- Medical Physicists shall accept responsibility for their own work and also that carried out under their supervision or direction. A Medical Physicist shall take all reasonable steps to ensure that those working under their guidance are competent to carry out the tasks assigned to them, and that they accept responsibility for their work

- Within their practice Medical Physicists shall continually strive to improve and keep current their professional knowledge and skills, and apply these where appropriate

- All relations with patients, employers, employees, co-workers, colleagues and members of other professions shall be conducted with integrity, fairness, and appropriate confidentiality.

- Medical Physicists engaged in private practice or consulting shall compete with others primarily on the basis professional credentials, knowledge, expertise, and caliber of service rendered

- Medical Physicists must realize their own limitations, refuse assignments for which they are not qualified, and seek consultation when appropriate.

- Medical Physicists shall uphold the stature of their profession by exhibiting sound ethical behavior. Unethical conduct should be reported to the Canadian College of Physicists in Medicine and to the Canadian Organization of Medical Physicists

- In the preparation of publications, reports, and statements, Medical Physicists shall ensure that information is accurate, and that conclusions and recommendations are based on sound research and knowledge. Resource materials shall be appropriately referenced when applicable.

- Medical Physicists shall assist colleagues at all levels of experience in the field in furthering their technical competence and professional development, and shall support them in following this Code of Ethics

- When providing instruction to workers in other disciplines concerning physics in medicine, the Medical Physicist shall emphasize to those given instruction the need to be aware and respect of the limitations of their knowledge and experience, so that patient care and public safety are not compromised.

- Medical Physicists shall strive to advise authorities, governments, and agencies on public policies affecting the safety, quality, and economics of all applications of physics in medicine

AAPM Code of Ethics:

- Members should conform to high standards of ethical, legal and professional conduct. Any activity that fails to conform to these standards compromises the member’s personal  integrity and casts aspersions on the AAPM and the medical professions

- Members shall strive to pursue scientific inquiry, and to promote a scientific and clinical environment free of political, ideological, or religious pressures or constraints

- Members shall be honest in all professional interactions and in their work. A medical physicist’s work frequently has a direct impact on the quality of patient care. Thus, trust in the fidelity of the work and in the person doing the work is paramount. The foundation of the trust is built on the everyday honesty in all that medical physicists do.

- Members will truthfully and accurately document and report their professional credentials such as academic degrees, training, continuing education, and scholarly and research contributions. Members will honestly represent their activities, services, and products delivered. Fabrication, and data falsification are unethical

- Members shall strive to have mutually beneficial relationships with their colleagues. All such interactions should be open, honest, and respectful. Where appropriate, members shall strive to share their skill and experience and to assist the professional development of colleagues. Those who are in a supervisory position have an obligation to guide their associates

- Members shall place primary importance on the welfare of patients and only participate in patient care activities that are in the best interest of the patient

- Members shall respect the confidential nature of all patient information and protect the confidentiality of all patient information

- Conflicts may exist with an institution, within an educational setting, with industry, or with clinical practice activities. Members should be aware when personal interests conflict with other interests. Members shall put the needs of the patient above their own personal interests. Conflicts of interests are not inherently unethical or to be avoided, but they must be disclosed to any involved party and managed appropriately

- Members shall treat fairly, equally, and with respect all those with whom they have professional relationships. Members shall judge others on the basis of knowledge, training, skill and quality of service rendered. Prejudicial, biased discrimination not based on merit is reprehensible and unethical.

- Members have an obligation to assist and cooperate with regulators in the performance of their duties in an honest and respectful manner

- Members should ensure that all data collected during a study are real, and that fabrication, falsification of data, or plagiarism have not occurred. All members of the team should respect the confidentiality of research data and should not disclose data to other scientists or the public without the consent of all team members. Members of the research team should fully understand who owns research data

- The most commonly discussed conflict of interest is a financial one, where one or more members of the research team or their immediate family members stand to gain financially if the results or reports of the research turn out in a particular way. If significant, such a conflict should be reported

- Authors shall respect the confidentiality of patients by not revealing their identities in publication or otherwise. This protection of privacy extends to individuals serving as volunteers in research involving humans

- You cannot do research misconduct. Specific examples of research misconduct are data fabrication, data falsification, and plagiarism. Fabrication is the artificial manufacturing of research data rather than obtaining data by experiment. Falsification is manipulation of data by selectively choosing only those data that support a research hypothesis. Plagiarism is the misrepresentation of data from another researcher as one’s own. These ethical breaches are intentional wrongdoings that are considered abhorrent and intolerable by the research community.

- It is unethical for an author to simultaneously or sequentially submit for publication substantially the same material to two or more journals, unless permission is granted by the editors of all affected journals, except in the case of rejected manuscripts.

- Formal educational settings present an environment within which the student will have the opportunity to absorb the intellectual and ethical atmosphere of the institution and its educators. Thus, it is of paramount importance that teachers/educators exhibit the highest ethical standards, and students begin the practice of ethical behavior that will guide them for the remainder of their careers.

Section Two: Lectures by Dr. Lixin Zhang

CT- Diagnostic, Contouring, Planning, Set Up

Main CT Milestones:

- 1895: Rontgen discovers a novel type of radiation, called “X-rays”.

- 1972: Hounsfield and Ambrose publish first clinical scans with an EMI head scanner

CT Stimulator:

- An X-ray device capable of crossectional imaging

- Generating images of slices through the patient.

Components:

- Doughnut shaped gantry

- Moving couch

- Lap lasers

- Control console

- Recon computers

X-ray journey in a CT scan:

- X-rays produced by firing electrons at a metal target (W) (bremsstrahlung)

- X-ray beam filtered to optimize spectrum (beam hardening)

- Beam shaping filter conditions quality and intensity of beam (attenuation and hardening)

- X-rays interact with patients (photoelectric and Compton effects)

- X-rays absorbed in detectors (signal detection)

Detectors:

• Early detectors scintillators, e.g. NaCl

--- Low max count rate leads to long scanning time

• Xenon gas detectors

--- Pressurised Xe gas: higher count rates, but lower detection efficiency

• Modern ceramic scintillators

--- Coupled to photodiodes, offer best all round performance

• Detector and tube rotate around the patient

• Detector arrangement

--- Single detector, detector row, detector ring, or detector matrix

CT Simulation Evolution- The Seven Generations:

- Rotate-Translate, Pencil Beam:

- Produced a thin focused beam of X-rays known as “pencil beam”

- The pencil beam passing through the patient onto a single detector

- CT tube and detector moved across the patient from left to right rotating 1 deg

- Total scan time about 5 min per image

- Rotate/Translate Narrow Fan Beam:

- Fan beam

- Multiple detectors in a straight line

- Tube and detector move across patient then rotate 5 degrees

- Total scan time about 20s per image

- Rotate/Rotate, Wide Fan Beam

- Fan beam

- Multiple detectors along a curve

- Tube and curved array of detectors rotate around the patient

- Total scan time about 1s per image

- Rotate/Stationary, Closed Detector Ring:

- Fan beam

- Multiple detectors encircle the patient but do not rotate

- Tube rotates the patient

- Total scan around time < 1s per image

- Stationary/Stationary, Electron Beam Rotate:

- Fan beam

- Both target and detectors encircle the patient w/o rotating

- Incident electron beam rotates

- Total scan time < 1s per image

- Helical CT, Tube Rotate + Couch Translate, Single Detector Row:

- Continuous Couch, Translation with Tube/Detector Rotation

- Fan beam

- Single row detection

- Multiple Detector Array, Helical Scanning:

- Multiple Detector Array

- Wide Fan Beam

- Continuous Couch Translation with Tube/Detector Rotation

Types of Electron Interactions:

- Ionization: converted into heat

- Characteristic Radiation: Ejecting a shell electron

- Bremsstrahlung: X-ray generating interaction. The generating efficiency is low. The higher e- energy, the higher efficiency in X-ray generation from Bremsstrahlung.

- Extreme case of Bremsstrahlung:  Electron full stop and photon receives all energy (where kVp is from).

Stopping Power: The rate of energy loss per unit charged particle track length.

Collision Stopping Power (Sion): Energy loss by ionization.

Radiative Stopping Power (Srad): Energy loss by radiation.