Cell Biology Lecture 2: Microscopy and Cell Imaging

- Angstrom = 1/10 nm

- Resolution is the minimum distance between two points

- Electron microscopy involves electrons whereas bright-field microscopy uses photons

- Light refracts against anything with its refractive index associated with light/medium used

- Fixed cells are preserved or dead cells using heat or any desiccant

- Inverted microscopes are used for very thin cultures of cells

- 4 conventional types of light-microscopy

- Bright field – transmitted light

- Phase contrast – converts phase differences into changes in brightness (wave properties of light are manipulated, phase shift will occur as light travels through the cell/sample, phase alignment is related to increased brightness)

- Differential interference contrast – similar principles as with phase, but more definition

- Dark-field – lateral light source shows only scattered light surrounding the sample

- Difference between phase contrast and DIC is the way the light is diffracted and distributed into the phase rings/plates. Phase contrast uses plates whereas DIC uses prisms to polarize light

- Phase contrast utilizes all intensities of light to provide contrast whereas DIC uses polarized light

- Fluorescence Microscopy – using conventional microscopes (without standard white-light) using specific wavelengths of light for the detection of specific fluorescent molecules or ions based off their absorption coefficient

- Stimulate the cells with a high power of light the emitted light is detected

- Shorter wavelength light is used for excitation of fluorescent dyes that produces longer wavelength light (ex. GFP uses blue light to fluoresce green)

- Filters are coated with material that filter all wavelengths of light rather than the necessary one

- Tissue can be fixed using alcohols, acids, aldehydes, and etc

- Fixed tissue can be imbedded in plastic or annealed to wells coated in polystyrene or polyethylene glycol

- Immunofluorescence

- Histo – tissue

- Use antibodies to mark particular phenotypes that cells express

- Western blot

- Cells are permeabilized using particular agents that modify the surface tension of the cell membrane to develop pores to allow the antibodies to bind

- Antibodies bind with high-affinity to antigens

- Confocal microscopy reduces background noise (anything that produces obstructions in the imaging pathway) reduces noise-signal ratio

- A lot less sectioning for confocal microscope

- Look at the whole piece of tissue or entire organism without having to cut sections or fixing (costly)

- Confocal refers to equidistance between light source and object, and object and detector

- Distance between the object and the two pinholes (one used for detection and the other for observation)

- Requires a detector to process that information into the computer

- Can focus light to a particular point and place on the tissue to observe thick pieces of tissue to avoid cutting sections

- Confocal microscope takes one layer of tissue at a time known as optical sections, photographs of particular planes 1 at a time (with the use of the pinhole which polarizes light)

- Get rid of background noise in contrast to fluorescence

- Signal to noise ratio is improved using confocal

- Fluorescent marker/stains or genetically engineering proteins (GFP, YFP, BFP, etc)

- Two-Photon Microscopy (or multi-photon)

- Non-linear microscopy there is no fixed parameter between

- Short period of time

- Multiple photons of light are incorporated to induce these fluorescent molecules into a higher state

- Costly

- Non-linear is that there is no perfect relationship between absorption and simultaneous arrival at excitable molecule

- Signal depends on photon density

- Multiple photons of light are required to excite the fluorescent molecule

- Spatially confinement of photon bombardment

- Even with confocal there’s extraneous signal (linear)

- Small region of emission (non-linear) small part of cone of illumination, more photon appear at the point of focus/center of higher concentration of arrival of photons

- Penetrate deeper into tissue (~1-2mm into tissue)

- With the use of NIR (near-infrared light) energy/radiation

- IR doesn’t interact very well with tissue hence, light penetrates and stimulates fluorescent molecules deep in tissue

- Possible to use electrodes filled with saline solutions to observe the membrane ion transporters using electrophysiology