1). Prepare standard solution of KHP

- get weigh boat put on top loading balance

- weigh ~ 2.042g of KHP in the weigh boat on the top loading balance

- weigh the weigh boat and the KHP with the analytical balance

- dump the KHP into a 250ml beaker

- weigh the empty weigh boat

- obtain exact amount of KHP by differences (weighboat+KHP)-(emptyweighboat)

- get another beaker, get ~25ml of water, heat it, then pour it into the beaker of solid KHP

- pour the KHP solution into a 100ml volumetric flask, and fill with water up to the 100ml mark

- invert the KHP solution in the volumetric flask until the shimmer is gone (~30 times)

2). Dilute either HCl or NaOH to 0.1M

Diluting HCl

- pour ~30-40ml of HCl into beaker

- pipet 25ml of HCl from beaker into volumetric flask

- fill volumetric flask with deionized water up to the 250ml mark

Diluting NaOH

- with a beaker pour ~25-40 ml of NaOH from carboy

- pipet 25ml of NaOH from beaker into volumetric flask

- fill volumetric flask with deionized water up to the 250ml mark

3). Titration

Titration of KHP

- pour~30-35ml of KHP from volumetric into beaker

- pipet 25ml of KHP from beaker to erlymeyer flask

- add few drops of phenophylten

- either get sufficient amounts NaOH from carboy or volumetric flask

- clean buret with water then rinse out with diluted NaOH

- pour NaOH from beaker (transfer from volumetric if needed) into buret with funnel ontop *record initial reading from buret

- put the spinny pill in the KHP solution in the erlymeyer

- add 20ml of NaOH immediately then continue titration until KHP turns pale pink

- DO TITRATION A SECOND TIME AND TAKE THE AVG OF THE TWO VOLUMES TO USE FOR CALCULATIONS

Titration of HCl

- Obtain HCl either from carboy or volumetric flask and put into beaker

- pipet 25ml of HCl from beaker into erlymeyer flask

- add few drops of phenophylten

- either get sufficient amounts NaOH from carboy or volumetric flask

- clean buret with water then rinse out with diluted NaOH

- pour NaOH from beaker (transfer from volumetric if needed) into buret with funnel ontop

*record initial reading from buret

- put the spinny pill in the KHP solution in the erlymeyer

- add 20ml of NaOH immediately then continue titration until KHP turns pale pink

*record final reading form buret

- DO TITRATION A SECOND TIME AND TAKE THE AVG OF THE TWO VOLUMES TO USE FOR CALCULATIONS